SECTION 32 31 13

FENCE AND GATES

PART 1 – GENERAL

  - DESCRIPTION

- This section describes the following fence system:

- Bear Mountain Security Razor Wire is an essential component of modern security systems, offering high tensile strength, durability and a formidable deterrence against intruders. Razor wire shall be available in various forms including runner razor wire, double concertina coils, electra coils and flat wrap allowing for customization based on specific security needs.

- Available variants of the Razor Wire shall be Single Coil Helical , Single Coil Concertina & Double Coil Concertina.

  - REQUIREMENTS

- Furnish materials, labor, expertise and equipment necessary to complete all work specified in this section.

  - SUBMITTALS

- Product Data: Manufacturer’s data sheets on each product to be used, including:

1.        Preparation instructions and recommendations.

2.        Storage and handling requirements and recommendations.

3.        Installation methods.

- Closeout submittals:  Warranty documents, issued and executed by manufacturer of systems, countersigned by Contractor.

  - REFERENCES

- ASTM F1910-98 –Standard Specification for Long Barbed Tape Obstacles.

- ASTM F1379-95 –Standard Terminology Relating to Barbed Tape.

- ASTM A641M –Standard Specification for Zinc–Coated (Galvanized) Carbon 		                Steel Wire.

- ASTM A653 –Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) 		            or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

- ASTM A370 –Standard Test Methods and Definitions for Mechanical Testing of 		            Steel Products.

  - QUALITY ASSURANCE

- Installation of razor wire shall conform to the requirements of the razor wire manufacturer.

- The razor wire shall be warranted from any defects in materials and workmanship for a period as specified in the relevant section of the contract documents.

PART 2 – PRODUCTS

  - MATERIALS

- Razor Wire:

Acceptable Manufacturers:

Bear Mountain Security

7400/7404 Gary Ave, Miami Beach, FL 33141

Tel: 202-549-3431

www.BearMountainSecurity.com

2.2       COMPONENTS

  - Razor Wire :

    - Coil Diameter: 8inch / 24inch / 30inch / 40inch

    - Barbed Tape Material: Galvanized steel / Stainless Steel 304 / 		Stainless Steel 316 / Stainless Steel 430.

    - Barbed Tape Thickness: 0.025inch

    - Wire Material: Class III galvanized steel / Stainless Steel 304 /		Stainless Steel 316

    - Wire Diameter: 0.098inch

    - Wire Tensile Strength: 180 Kpsi - 195 Kpsi

    - Barb Profile: Fish Hook Barb / Long Barb / Tear Barb / Medium 		Barb / Short Barb

  - Features:

    - Razor wire shall be steel grade SAE 1018 ensuring exceptional		strength.

    - Razor wire shall be designed with sharp edges, placed to maximize 	 deterrence.

    - Shall be made from Class III galvanized or stainless steel			withstand harsh weather conditions and other environmental		factors.

PART 3 – EXECUTION

  - INSPECTION

  - Verify that final grading in razor wire location is completed and without irregularities which will interfere with razor wire installation.Variations in height, slopes, stairs, and steeping shall be shown on contract drawings and on submittal drawings.

  - Field verify all dimensions and layout prior to commencing installation.

  - Do not commence work until unsatisfactory conditions have been corrected.

3.2	INSTALLATION

- Install the razor wire following the manufacturer’s installation instructions; for		detailed guidance, please refer to the installation manual.

3.3	CLEANING

A.	Clean jobsite of excess materials.